## Slide 1
UNIT V - BIOSENSOR
Basic set up, Working principle, Types and its applications

## Slide 3
Thermistor

## Slide 4
Basic set up of Biosensor

## Slide 10
Measures change in electrical potential
Measures current

## Slide 14: BIOSENSOR

## Slide 18
What do you want to detect?

## Slide 22
1. Optical biosensor: It uses optical devices that can transform the changes of optical phenomena due to the interaction of the analyte with the receptor. The optical phenomena that takes place during the interaction.
Absorbance
Reflectance
Luminescense
Fluorescesce
Refractive index
Opto-thermal effect
Light scattering
2. Electrochemical biosensor: It uses electrochemical devices that will transform the effect of electrochemical interaction of an analyte and an electrode into a useful signal
……..Amperometric….current is measured in d.c or a.c mode
……..Potentiometric…..potential of the indicator electrode is measured against the reference electrode.
…..Conductometric and impedimetric uses electrical devices to detect the change in electrical properties caused by the interaction of bioreceptor with analyte.
3. Piezoelectric biosensor: uses mass sensitive devices to detect the change in mass at a specifically modified surface into a change of a property of the support material.

## Slide 23
Successful Biosensor

## Slide 25
Based on transducer type, biosensor or sensors are classified as

## Slide 26
Measures change in electrical potential
Measures current

## Slide 30: Cholesterol biosensor
Liebermann-burchard test…colorimetric test for cholesterol biosensor

## Slide 36
https://www.slideshare.net/Funk98/bioelectronics-biosensors-smart-phones-and-health-care